Issues for Decision

2025 Open Access Transmission Tariff Change Request Hearing

January 14, 2025

Open Access Transmission Tariff:

- Should Utilities update the Open Access Transmission Tariff sections setting forth the Large Generator Interconnection Procedures and the (pro forma) Large Generator Interconnection Agreement in their entirety, as proposed, for the purposes of improving the processes and procedures for interconnection and of enhancing Utilities’ ability to carry out its Sustainable Energy Plan?

- Should Utilities update the Open Access Transmission Tariff sections setting forth the Small Generator Interconnection Procedures and the (pro forma) Small Generator Interconnection Agreement, as proposed, to add requirements related to dynamic and primary frequency response and to remove Utilities’ reactive power compensation requirement?

- Should Utilities make the proposed clerical corrections to these sections of the Open Access Transmission Tariff?